## Front Page
C31E Procurement and Use of Distribution Flexibility Services Annual Report - Supporting Data
Deadline | On or before 1 May following regulatory year of report
Submission location
For further info contact
Reporting Year | 2022-2023
ED Licensee or Group | Scottish and Southern Energy
Contact Name | [Redacted]
Contact Email | [Redacted]
Procurement Tab | This tab is to populate with your forward looking Procurement Statement
Dispatch Tab | This tab is to populate with your backward looking Procurement Report
Note: this template has been issued as a single Excel Workbook.
We appreciate that data volumes will likely require individual submission of worksheets for ease of completion and use.

## Data Dictionary
Tab | Item | Data type | Description
Procurement | Tender reference | Text | Unique reference of flexibility service tender. Where multi-year tenders occur, tender references can be input multiple times.
Procurement | Product | Text (select from valid values provided) | The main flexibility product that a service is being procured for. Note this list is not exhaustive and will be updated in line with industry updates.
Procurement | Licence area | Text (select from valid values provided) | Can be defined as individual licence areas where separate sheets are submitted for each licence area. Alternatively, this data can be amalgamated for the company itself.
Procurement | Service location (Grid Supply Point) | Text | The area within which a flexibility service is being procured. Information can be entered as a Grid Supply Point.
Procurement | Service Provider | Text | Name/identifier of the flexibility service provider.
Procurement | Constraint type | Text (select from valid values provided) | Pre-fault and post-fault constraint type for which a flexibility service is being procured, predominantly covering the CV1 (primary reinforcement) table.
Procurement | Constraint Management Zone Name | Text | Name of the Constraint Management Zone (CMZ) within which the flexibility service being procured occurs in.
Procurement | Maximum Connection Voltage | Decimal | The maximum voltage at which a connection occurs within a CMZ.
Procurement | Main technology | Text (select from valid values provided) | Main technology used against each tender reference against the G99 of the ECR.
Procurement | Secondary Technology (where applicable) | Text (select from valid values provided) | Main technology (where applicable) used against each tender reference against the G99 of the ECR.
Procurement | Dispatchable / non-dispatchable | Text (select from valid values provided) | Dispatchable: Refers to a flexible solution which can change output from its counterfactual level on DSO instruction closer to real-time. This will depend on the nature of the constraint e.g. demand constraints compared to generation constraints. Non-dispatchable: Refers to a flexible solution which cannot change output from its counterfactual level on DSO instruction closer to real-time. This will depend on the nature of the constraint e.g. demand constraints compared to generation constraints.
Procurement | Number of bids received | Decimal | Number of bids received for each tender reference.
Procurement | Bid outcome | Text (select from valid values provided) | Outcome of the bid under each tender reference for a flexibility service. It is important to cover bids that were not successful within this space to promote transparency and market participation.
Procurement | Flexible Unit reference | Text | A Distributed Energy Resource (DER) or notional DER consisting of two or more DERs. The Flexible Unit ID is a unique ID which links accepted bids to a specific Flexible Unit. The Flexible Unit ID allows dispatch to be linked to awarded contracts for increased transparency and understanding.
Procurement | Committed contracts / non-committed contracts | Text (select from valid values provided) | Firm: Committed contracts where flexibility providers commit to making a fixed level of capacity available for dispatch at the point of contracting for the duration of the contract. Non-firm: Non-committed contracts where flexibility providers can vary the capacity available for dispatch during the term of the contract
Procurement | Flexible Capacity (in MW) | Decimal | For firm contracts, this is a committed level of generation or consumption adjustment that can be delivered on request relative to their baseline generation or consumption level. For non-firm contracts, this is the maximum amount that the generation or consumption can be adjusted relative to an assumed baseline generation or consumption level.
Procurement | Flexible Capacity (in MVAr) | Decimal
Procurement | Maximum Run Time (hh:mm) | Time | hh:mm. The maximum time in minutes for which the solution can continuously deliver its flexible capacity. Where no restrictions apply, enter 9999. This gives an indication of the volume a DSO can dispatch when combined with Flexible Capacity.
Procurement | Response Time (hh:mm) | Time | hh:mm. The lead-time from the time of DSO instruction to full delivery of Flexible Capacity.
Procurement | Connection voltage (in kV) | Decimal | Voltage at which a connection is made. 'Aggregate' option includes scenarios where multiple voltages are being connected for each tender reference.
Procurement | Delivery Year | Text (select from valid values provided) | Regulatory year the delivery will take place in. Where multi-year contracts occur, a series of individual years should be input for improved granularity and transparency e.g. 5 year contract would be reported here as 5 separate lines. Can then see how MW, prices etc may change over duration of contract.
Procurement | Contract start | Date | dd/mm/yyyy. Date on which a contract is anticipated to start.
Procurement | Contract end | Date | dd/mm/yyyy. Date on which a contract is expected to end.
Procurement | Service days | Text (select from valid values provided) | Days on which a flexibility service is expected to be available. Hourly service windows can be provided in the Service Windows columns where appropriate.
Procurement | Service window 1 FROM (where applicable) | Time | hh:mm. Set hours under the defined service days where a flexibility service is expected to be available from. Complete column where appropriate.
Procurement | Service window 1 TO (where applicable) | Time | hh:mm. Set hours under the defined service days where a flexibility service is expected to be available until. Complete column where appropriate.
Procurement | Service window 2 FROM (where applicable) | Time | hh:mm. Where contract is for more than 1 service window per day, e.g. morning and evening. Complete column where appropriate.
Procurement | Service window 2 TO (where applicable) | Time | hh:mm. Where contract is for more than 1 service window per day, e.g. morning and evening. Complete column where appropriate.
Procurement | Availability Hours | Text | The number of hours for which the flexible solution will have availability for dispatch.
Procurement | Original availability fee bid (where applicable, in £/MW/hr) | Decimal | The original availability fee the flexibility requirement was set at within the tender rounds, at which bidding would initiate.
Procurement | Original utilisation fee bid (where applicable, in £/MWh) | Decimal | The original utilisation fee the flexibility requirement was set at within the tender rounds, at which bidding would initiate.
Procurement | Agreed availability fee (where applicable, in £/MW/hr) | Decimal | The agreed availability fee the flexibility requirement has won the bid at within the tender rounds.
Procurement | Agreed utilisation price (in £/MWh) | Decimal | The agreed utilisation fee the flexibility requirement has won the bid at within the tender rounds.
Procurement | Service fee (in £/MWh) | Decimal | The agreed service fee the flexibility requirement has won the bid at within the tender rounds.
Dispatch | Tender reference | Text | Unique reference of flexibility service tender. Where multi-year tenders occur, tender references can be input multiple times.
Dispatch | Incident reference | Text | Unique reference of incident for which a service was dispatched. Where multi-year tenders occur, incident references can be input multiple times. Where repetition occurs with other references and columns, leave field free.
Dispatch | Product | Text (select from valid values provided) | The main flexibility product for which a service was dispatched for. Note this list is not exhaustive and will be updated in line with industry updates.
Dispatch | Licence area | Text (select from valid values provided) | Can be defined as individual licence areas where separate sheets are submitted for each licence area. Alternatively, this data can be amalgamated for the company itself.
Dispatch | Incident location (Grid Supply Point) | Text | The area within which a flexibility service was dispatched. Information can be entered as a Grid Supply Point.
Dispatch | Accepting party | Text | Details of the accepting party for dispatched service.
Dispatch | Flexible Unit reference | Text | A Distributed Energy Resource (DER) or notional DER consisting of two or more DERs. The Flexible Unit ID is a unique ID which links accepted bids to a specific Flexible Unit. The Flexible Unit ID allows dispatch to be linked to awarded contracts for increased transparency and understanding.
Dispatch | Main technology | Text (select from valid values provided) | *Duplication from Procurement Tab for data consistency
Dispatch | Secondary technology | Text (select from valid values provided) | *Duplication from Procurement Tab for data consistency
Dispatch | Constraint type | Text (select from valid values provided) | Pre-fault and post-fault constraint type for which a flexibility service was dispatched, predominantly covering the CV1 (primary reinforcement) table.
Dispatch | Constraint Management Zone Name | Text | Name of the Constraint Management Zone (CMZ) within which the flexibility service being procured occurs in.
Dispatch | Maximum Connection Voltage | Decimal | The maximum voltage at which a connection occurs within a CMZ.
Dispatch | Dispatch capacity (MW) | Decimal | The flexible MW dispatched. Average MW for a profiled dispatch.
Dispatch | Dispatch volume (MWh) | Decimal | The total dispatch energy calculated as Dispatch Capacity x Total Duration (Column U)
Dispatch | Dispatch capacity (MVAr) | Decimal | The flexible MVAr dispatched. Average MVAr for a profiled dispatch.
Dispatch | Dispatch volume (MVArh) | Decimal | The total dispatch energy calculated as Dispatch Capacity x Total Duration (Column U)
Dispatch | Availability Price (£/MW/hr) | Decimal | The availability price the flexibility requirement was dispatched at.
| Utilisation Price (£/MWh) | Decimal | The utilisation price the flexibility requirement was dispatched at.
| Service Price (£/kW/year) | Decimal | The service price the flexibility requirement was dispatched at.
| Pricing Strategy | Text (limited to 50 characters) | Description of pricing strategy associated with pricing where possible, examples include but not limited to: fixed, ceiling price, clearing price, adjusted monthly.
Dispatch | Date of instruction (DD/MM/YYYY) | Date | dd/mm/yyyy. Defining the timing of dispatch. Gives indication of notice period together with Start field.
Dispatch | Time of instruction (HH:MM) | Time | hh:mm. Defining the timing of dispatch. Gives indication of notice period together with Start field.
Dispatch | Start date of instruction (DD/MM/YYYY) | Date | dd/mm/yyyy. Defining timing of dispatch and therefore network need.
Dispatch | Start Time of instruction (HH:MM) | Time | hh:mm. Defining timing of dispatch and therefore network need.
Dispatch | End date of instruction (DD/MM/YYYY) | Date | dd/mm/yyyy. Defining timing of dispatch and therefore network need.
Dispatch | End Time of instruction (HH:MM) | Time | hh:mm. Defining timing of dispatch and therefore network need.
Dispatch | Actual duration of dispatched utility (HH:MM) | Time | hh:mm. Actual duration of service defined within the service windows (dates and times) above.
Dispatch | Accept time (HH:MM) | Time | hh:mm. Actual time a dispatched utility was accepted.
Dispatch | Notice time (HH:MM) | Time | hh:mm. Actual time a notice of the dispatched utility was given.
Dispatch | Expected duration (HH:MM) (where applicable) | Time | hh:mm. Expected duration of a service being dispatched. Complete this column where applicable.
Dispatch | Notes | Text | Use notes sections within Procurement and Dispatch tabs to add any additional notes to do with tabs, data fields, or format of sheets.

## Tender rounds summary
Tender reference | Licence area | Product | Participants | Tendered (MW/MVAr) | Contracted | Unmet
Flexibility Services - SEPD 16 Zones - Multisite 2022 | Southern Electric Power Distribution Plc | Secure | 6 | 53.93 | 75.93 | 16.27
Flexibility Services - SHEPD Islay - 2022 | Scottish Hydro Electric Power Distribution Plc | Secure | 1 | uncapped | 1.95 | n/a
Flexibility Services - SHEPD Islay - 2022 | Scottish Hydro Electric Power Distribution Plc | Dynamic | 1 | uncapped | 1.95 | n/a
Flexibility Services - SHEPD Islay - 2022 | Scottish Hydro Electric Power Distribution Plc | Restore | 1 | uncapped | 1.95 | n/a
Note on C1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Data: inset dropdown
Note on D1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Populated from "Procurement"
Note on F1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Populated from "Procurement"

## ProcurementandUseSummary
| Sustain | Secure | Dynamic | Restore | Reactive Power | Additional Products
| MW | MW | MW | MW | MVAr | MW
Delivery Year: 2021/22
Contracted in prior years (MW) | 0 | 194.96 | 184.96 | 194.96 | 0 | 33
Tendered in reporting year (MW) | 2.6 | uncapped | uncapped | uncapped | 0 | 6
Contracted in reporting year (MW) | 2.6 | 76.269 | 0 | 0 | 0 | 0
Needs not met (MW) | 0 | n/a | n/a | n/a | n/a | n/a
Dispatched in reporting year (MWh) | 0 | 858.4702 | 0 | 642.2085 | 0 | 2925.6725
Delivery Year: 2022/23
Contracted in prior years (MW) | 2.6 | 271.229 | 184.96 | 194.96 | 0 | 0
Tendered in reporting year (MW) | 0 | 53.93 | uncapped | uncapped | 0 | 0
Contracted in reporting year (MW) | 0 | 75.93 | 1.95 | 1.95 | 0 | 0
Needs not met (MW) | 0 | 16.27 | n/a | n/a | 0 | 0
Dispatched in reporting year (MWh) | 312 | 41.68 | 0 | 0 | 0 | 0
Delivery Year: 2023/24
Contracted in prior years (MW)
Tendered in reporting year (MW)
Contracted in reporting year (MW)
Needs not met (MW)
Dispatched in reporting year (MWh)
Delivery Year: 2024/25
Contracted in prior years (MW)
Tendered in reporting year (MW)
Contracted in reporting year (MW)
Needs not met (MW)
Dispatched in reporting year (MWh)
Delivery Year: 2025/26
Contracted in prior years (MW)
Tendered in reporting year (MW)
Contracted in reporting year (MW)
Needs not met (MW)
Dispatched in reporting year (MWh)
Years added as required to reflect contracts

## Procurement - Locational
Licence area | Service location (Grid Supply Point) | Product | Constraint Type | Delivery Year 21/22 |  |  |  |  | Delivery Year 22/23 |  |  |  |  | Delivery Year 23/24 |  |  |  |  | Delivery Year 24/25 |  |  |  |  | Delivery Year 25/26
|  |  |  | Contracted in prior years (MW) | Tendered in reporting year (MW) | Contracted in reporting year (MW) | Remaining requirement (MW) | Dispatched (MWh) | Contracted in prior years (MW) | Tendered in reporting year (MW) | Contracted in reporting year (MW) | Remaining requirement (MW) | Dispatched (MWh) | Contracted in prior years (MW) | Tendered in reporting year (MW) | Contracted in reporting year (MW) | Remaining requirement (MW) | Dispatched (MWh) | Contracted in prior years (MW) | Tendered in reporting year (MW) | Contracted in reporting year (MW) | Remaining requirement (MW) | Dispatched (MWh) | Contracted in prior years (MW) | Tendered in reporting year (MW) | Contracted in reporting year (MW) | Remaining requirement (MW) | Dispatched (MWh)
Southern Electric Power Distribution Plc | Axminster | Secure | Pre-fault, demand constraint – Outage Conditions | 0 | 0 | 0 | 0 | 0 | 0 | 0.83 | 16.601 | 0 | 0
Southern Electric Power Distribution Plc | Axminster/Chickerell | Secure | Pre-fault, demand constraint – Outage Conditions | 0 | 0 | 0 | 0 | 0 | 0 | 0.4 | 1.189 | 0 | 0
Southern Electric Power Distribution Plc | Cowley | Secure | Pre-fault, demand constraint – Outage Conditions | 0 | 0 | 0 | 0 | 0 | 0 | 7.69 | 19.431 | 0 | 0
Southern Electric Power Distribution Plc | Ealing | Secure | Pre-fault, demand constraint – Outage Conditions | 0 | 0 | 0 | 0 | 0 | 0 | 2.84 | 1.027 | 1.813 | 0
Southern Electric Power Distribution Plc | Fleet/Bramley | Secure | Pre-fault, demand constraint – Outage Conditions | 0 | 0 | 0 | 0 | 0 | 0 | 4.6 | 1.515 | 3.085 | 0
Southern Electric Power Distribution Plc | Iver | Secure | Pre-fault, demand constraint – Outage Conditions | 0 | 0 | 0 | 0 | 0 | 0 | 11.03 | 12.241 | 0 | 0
Southern Electric Power Distribution Plc | Laleham | Secure | Pre-fault, demand constraint – Outage Conditions | 0 | 0 | 0 | 0 | 0 | 0 | 2.08 | 1.69 | 0.39 | 0
Southern Electric Power Distribution Plc | Lovedean | Secure | Pre-fault, demand constraint – Outage Conditions | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 2.532 | 3.468 | 0
Southern Electric Power Distribution Plc | Mannington | Secure | Pre-fault, demand constraint – Outage Conditions | 0 | 0 | 0 | 0 | 0 | 0 | 6.9 | 16.128 | 0 | 0
Southern Electric Power Distribution Plc | Melksham | Secure | Pre-fault, demand constraint – Outage Conditions | 0 | 0 | 0 | 0 | 0 | 0 | 5.9 | 2.668 | 3.232 | 0
Southern Electric Power Distribution Plc | Minety | Secure | Pre-fault, demand constraint – Outage Conditions | 0 | 0 | 0 | 0 | 0 | 0 | 3.66 | 1.068 | 2.592 | 0
Scottish Hydro Electric Power Distribution Plc | Port Ann | Secure | Pre-fault, demand constraint – Outage Conditions | 1.95 | 0 | 0 | 0 | 33.339 | 0 | uncapped | 1.95 | n/a | 34.525
Scottish Hydro Electric Power Distribution Plc | Port Ann | Dynamic | Pre-fault, demand constraint – Outage Conditions | 1.95 | 0 | 0 | 0 | 0 | 0 | uncapped | 1.95 | n/a | 0
Scottish Hydro Electric Power Distribution Plc | Port Ann | Restore | Pre-fault, demand constraint – Outage Conditions | 1.95 | 0 | 0 | 0 | 0 | 0 | uncapped | 1.95 | n/a | 0
Scottish Hydro Electric Power Distribution Plc | Bridge of Dun | Sustain | Pre-fault, generation constraint – Normal Running | 0 | 2.6 | 2.6 | 0 | 0 | 2.6 | 0 | 0 | 0 | 312
Scottish Hydro Electric Power Distribution Plc | Loch Carnan | Other | Pre-fault, demand constraint – Outage Conditions | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Scottish Hydro Electric Power Distribution Plc | Loch Carnan | Secure | Pre-fault, demand constraint – Outage Conditions | 0 | uncapped | 0 | n/a | 0 | 0 | 0 | 0 | 0 | 0
Scottish Hydro Electric Power Distribution Plc | Loch Carnan | Dynamic | Post Fault, demand constraint – Load Management | 0 | uncapped | 0 | n/a | 0 | 0 | 0 | 0 | 0 | 0
Scottish Hydro Electric Power Distribution Plc | Loch Carnan | Restore | Post Fault, demand constraint – Restoration | 0 | uncapped | 0 | n/a | 0 | 0 | 0 | 0 | 0 | 0
Scottish Hydro Electric Power Distribution Plc | Carradale | Secure | Pre-fault, demand constraint – Outage Conditions | 0 | uncapped | 21.5 | n/a | 0 | 21.5 | 0 | 0 | 0 | 0
Scottish Hydro Electric Power Distribution Plc | Carradale | Dynamic | Post Fault, demand constraint – Load Management | 0 | uncapped | 21.5 | n/a | 0 | 21.5 | 0 | 0 | 0 | 0
Scottish Hydro Electric Power Distribution Plc | Carradale | Restore | Post Fault, demand constraint – Restoration | 0 | uncapped | 3 | n/a | 0 | 3 | 0 | 0 | 0 | 0
Scottish Hydro Electric Power Distribution Plc | Boat of Garten | Secure | Pre-fault, demand constraint – Outage Conditions | 0 | uncapped | 2.5 | n/a | 0 | 2.5 | 0 | 0 | 0 | 0
Scottish Hydro Electric Power Distribution Plc | Boat of Garten | Dynamic | Post Fault, demand constraint – Load Management | 0 | uncapped | 2.5 | n/a | 0 | 2.5 | 0 | 0 | 0 | 0
Scottish Hydro Electric Power Distribution Plc | Boat of Garten | Restore | Post Fault, demand constraint – Restoration | 0 | uncapped | 1 | n/a | 0 | 1 | 0 | 0 | 0 | 0
Scottish Hydro Electric Power Distribution Plc | Fasnakyle | Secure | Pre-fault, demand constraint – Outage Conditions | 0 | uncapped | 32.9 | n/a | 0 | 32.9 | 0 | 0 | 0 | 0
Scottish Hydro Electric Power Distribution Plc | Fasnakyle | Dynamic | Post Fault, demand constraint – Load Management | 0 | uncapped | 32.9 | n/a | 0 | 32.9 | 0 | 0 | 0 | 0
Scottish Hydro Electric Power Distribution Plc | Fasnakyle | Restore | Post Fault, demand constraint – Restoration | 0 | uncapped | 3 | n/a | 0 | 3 | 0 | 0 | 0 | 0
Scottish Hydro Electric Power Distribution Plc | Sloy | Secure | Pre-fault, demand constraint – Outage Conditions | 0 | uncapped | 72.5 | n/a | 0 | 72.5 | 0 | 0 | 0 | 0
Scottish Hydro Electric Power Distribution Plc | Sloy | Dynamic | Post Fault, demand constraint – Load Management | 0 | uncapped | 72.5 | n/a | 0 | 72.5 | 0 | 0 | 0 | 0
Scottish Hydro Electric Power Distribution Plc | Sloy | Restore | Post Fault, demand constraint – Restoration | 0 | uncapped | 2 | n/a | 0 | 2 | 0 | 0 | 0 | 0
Scottish Hydro Electric Power Distribution Plc | Inverness | Secure | Pre-fault, demand constraint – Outage Conditions | 0 | uncapped | 5 | n/a | 0 | 5 | 0 | 0 | 0 | 0
Scottish Hydro Electric Power Distribution Plc | Inverness | Dynamic | Post Fault, demand constraint – Load Management | 0 | uncapped | 5 | n/a | 0 | 5 | 0 | 0 | 0 | 0
Scottish Hydro Electric Power Distribution Plc | Inverness | Restore | Post Fault, demand constraint – Restoration | 0 | uncapped | 1 | n/a | 0 | 1 | 0 | 0 | 0 | 0
Scottish Hydro Electric Power Distribution Plc | Taynuilt | Secure | Pre-fault, demand constraint – Outage Conditions | 0 | uncapped | 25 | n/a | 0 | 25 | 0 | 0 | 0 | 0
Scottish Hydro Electric Power Distribution Plc | Taynuilt | Dynamic | Post Fault, demand constraint – Load Management | 0 | uncapped | 25 | n/a | 0 | 25 | 0 | 0 | 0 | 0
Scottish Hydro Electric Power Distribution Plc | Taynuilt | Restore | Post Fault, demand constraint – Restoration | 0 | uncapped | 1 | n/a | 0 | 1 | 0 | 0 | 0 | 0
Southern Electric Power Distribution Plc | Fleet | Dynamic | Post Fault, demand constraint – Load Management | 0 | uncapped | 0 | n/a | 0 | 0 | 0 | 0 | 0 | 0
Southern Electric Power Distribution Plc | Fleet | Restore | Post Fault, demand constraint – Restoration | 0 | uncapped | 0 | n/a | 0 | 0 | 0 | 0 | 0 | 0
Southern Electric Power Distribution Plc | Iver | Dynamic | Post Fault, demand constraint – Load Management | 0 | uncapped | 0 | n/a | 0 | 0 | 0 | 0 | 0 | 0
Southern Electric Power Distribution Plc | Iver | Restore | Post Fault, demand constraint – Restoration | 0 | uncapped | 0 | n/a | 0 | 0 | 0 | 0 | 0 | 0
Southern Electric Power Distribution Plc | Minety | Dynamic | Post Fault, demand constraint – Load Management | 0 | uncapped | 19 | n/a | 0 | 19 | 0 | 0 | 0 | 0
Southern Electric Power Distribution Plc | Minety | Restore | Post Fault, demand constraint – Restoration | 0 | uncapped | 0 | n/a | 0 | 0 | 0 | 0 | 0 | 0
Southern Electric Power Distribution Plc | Botley Wood | Dynamic | Post Fault, demand constraint – Load Management | 0 | uncapped | 13.2 | n/a | 0 | 13.2 | 0 | 0 | 0 | 0
Southern Electric Power Distribution Plc | Botley Wood | Restore | Post Fault, demand constraint – Restoration | 0 | uncapped | 13.2 | n/a | 0 | 13.2 | 0 | 0 | 0 | 0
Southern Electric Power Distribution Plc | Mannington | Dynamic | Post Fault, demand constraint – Load Management | 0 | uncapped | 0 | n/a | 0 | 0 | 0 | 0 | 0 | 0
Southern Electric Power Distribution Plc | Mannington | Restore | Post Fault, demand constraint – Restoration | 0 | uncapped | 0 | n/a | 0 | 0 | 0 | 0 | 0 | 0
Southern Electric Power Distribution Plc | Axminster | Dynamic | Post Fault, demand constraint – Load Management | 0 | uncapped | 0 | n/a | 0 | 0 | 0 | 0 | 0 | 0
Southern Electric Power Distribution Plc | Axminster | Restore | Post Fault, demand constraint – Restoration | 0 | uncapped | 0 | n/a | 0 | 0 | 0 | 0 | 0 | 0
Southern Electric Power Distribution Plc | Thatcham | Dynamic | Post Fault, demand constraint – Load Management | 0 | uncapped | 0 | n/a | 0 | 0 | 0 | 0 | 0 | 0
Southern Electric Power Distribution Plc | Thatcham | Restore | Post Fault, demand constraint – Restoration | 0 | uncapped | 0 | n/a | 0 | 0 | 0 | 0 | 0 | 0
Southern Electric Power Distribution Plc | Lovedean | Dynamic | Post Fault, demand constraint – Load Management | 0 | uncapped | 0 | n/a | 0 | 0 | 0 | 0 | 0 | 0
Southern Electric Power Distribution Plc | Lovedean | Restore | Post Fault, demand constraint – Restoration | 0 | uncapped | 0 | n/a | 0 | 0 | 0 | 0 | 0 | 0
Southern Electric Power Distribution Plc | Amersham | Dynamic | Post Fault, demand constraint – Load Management | 0 | uncapped | 0 | n/a | 0 | 0 | 0 | 0 | 0 | 0
Southern Electric Power Distribution Plc | Amersham | Restore | Post Fault, demand constraint – Restoration | 0 | uncapped | 0 | n/a | 0 | 0 | 0 | 0 | 0 | 0
This tab is intended to provide more granular information of locational need against locational procurement and dispatch to help stakeholders understand where opportunities remain and to provide more detail on DNO procurement practices.

## Dispatch
Tender reference | Incident reference | Product | Licence area | Incident location (Grid Supply Point) | Accepting party | Flexible Unit Reference | Main technology | Secondary technology | Constraint Type | Constraint Management Zone Name | Maximum Connection Voltage | Dispatch capacity (MW) | Dispatch volume (MWh) | Dispatch capacity (MVAr) | Dispatch volume (MVArh) | Availability Price (£/MW/hr) | Utilisation Price (£/MWh) | Service Price (£/kW/year) | Pricing Strategy | Date of instruction (DD/MM/YYYY) | Time of instruction (HH:MM) | Start date of instruction (DD/MM/YYYY) | Start time of instruction (HH:MM) | End date of instruction (DD/MM/YYYY) | End time of instruction (HH:MM) | Actual duration of dispatched utility (HH:MM) | Accept time (HH:MM) | Notice time (HH:MM) | Expected duration (HH:MM) (where applicable) | Notes
FW Software - Trials CMZ Flexible Power system - Islay 1021 | N/A | Secure | Scottish Hydro Electric Power Distribution Plc | Port Ann | Inver Hydro | Inver Hydro | Water (flowing water or head of water) | N/A | Pre-fault, generation constraint – Outage Conditions | Islay | 33 kV | 0.9 | 10.35 | N/A | N/A | N/A | 150 | N/A | In contract | 2022-04-14 | 12:53 | 2022-04-21 | 7:00 | 2022-04-21 | 18:30 | 11:30 | Not logged | Not logged | N/A
Services – CMZ Sustain – Logie Pert 1125 | N/A | Sustain | Scottish Hydro Electric Power Distribution Plc | Bridge of Dun | Tullo Windfarm Ltd | Tullo Windfarm | Wind | N/A | Pre-fault, generation constraint – Normal Running | Logie Pert | 33 kV | 2.6 | 312 | N/A | N/A | N/A | 10 | N/A | In contract | 2022-04-01 | Unknown | 2022-05-01 | 0:00 | 2022-08-31 | 23:59 | 2952:00 | Not logged | Not logged | N/A | Season instruction of generation cap. Utilisation is estimated based on historical exceedance of the cap.
FW Software - Trials CMZ Flexible Power system - Islay 1021 | N/A | Secure | Scottish Hydro Electric Power Distribution Plc | Port Ann | Inver Hydro | Inver Hydro | Water (flowing water or head of water) | N/A | Pre-fault, demand constraint – Outage Conditions | Islay | 33kV | 1 | 12.83 | N/A | N/A | N/A | 150 | N/A | In contract | 2022-06-04 | 12:40 | 2022-06-22 | 7:00 | 2022-06-22 | 19:50 | 12:50 | Not logged | Not logged | N/A
SHEPD 2020 | N/A | Secure | Scottish Hydro Electric Power Distribution Plc | Taynuilt | SSE Renewables | Kimelford PS | Water (flowing water or head of water) | N/A | Pre-fault, demand constraint – Outage Conditions | Kimelford | 33kV | 1 | 9.5 | N/A | N/A | N/A | 136.25 | N/A | In contract | 2022-08-30 | 16:17 | 2022-09-07 | 8:40 | 2022-09-07 | 18:40 | 10:00 | Not logged | Not logged | N/A
Flexibility Services - SHEPD Islay - 2022 | N/A | Secure | Scottish Hydro Electric Power Distribution Plc | Port Ann | Inver Hydro | Inver Hydro | Water (flowing water or head of water) | N/A | Pre-fault, demand constraint – Outage Conditions | Islay | 33kV | 1 | 9 | N/A | N/A | 7 | 200 | N/A | In contract | 2022-11-04 | 9:24 | 2022-11-10 | 7:00 | 2022-11-10 | 16:00 | 9:00 | Not logged | Not logged | N/A

## Valid Values
Front Page |  | Procurement and Dispatch Tabs
ED Licensee or Group | Reporting Year | Product | Constraint Type | Technology | Dispatchable/non-dispatchable | Bid Outcome | Committed contracts / non-committed contracts | Connection voltage (in kV) | Service Days
Eastern Power Networks Plc | 2021-2022 | Dynamic | Pre-fault, demand constraint – Normal Running | Advanced Fuel (produced via gasification or pyrolysis of biofuel or waste) | Dispatchable | Accepted | Firm | 240V | Monday
Eclipse Power Networks Limited | 2022-2023 | Reactive Power | Pre-fault, demand constraint – Outage Conditions | Biofuel - Biogas from anaerobic digestion (excluding landfill & sewage) | Non-dispatchable | Partially Accepted | Non-firm | 6.6kV | Tuesday
Electricity North West Limited | 2023-2024 | Restore | Post Fault, demand constraint – Load Management | Biofuel - Landfill gas |  | Rejected |  | 11kV | Wednesday
Energetics Electricity Limited | 2024-2025 | Secure | Post Fault, demand constraint – Restoration | Biofuel - Other |  | Rejected - Cost |  | 33kV | Thursday
Energy Assets Networks Limited | 2025-2026 | Sustain | Pre-fault, generation constraint – Normal Running | Biofuel - Sewage gas |  | Rejected - Insufficient Capacity |  | 132kV | Friday
ESP Electricity Limited | 2026-2027 | Other | Pre-fault, generation constraint – Outage Conditions | Biomass |  |  |  | Aggregate | Saturday
Forbury Assets Limited | 2027-2028 |  | Post Fault, generation constraint – Load Management | Demand |  |  |  |  | Sunday
Fulcrum Electricity Assets Limited | 2028-2029 |  | Post Fault, generation constraint – Restoration | Fossil - Brown coal/lignite |  |  |  |  | All in season
Harlaxton Energy Networks Limited | 2029-2030 |  | Other substation constraints | Fossil - Coal gas
Independent Power Networks Limited | 2030-2031 |  |  | Fossil - Gas
Indigo Power Limited | 2031-2032 |  |  | Fossil - Hard coal
Last Mile Electricity Limited | 2032-2033 |  |  | Fossil - Oil
Leep Electricity Networks Limited | 2033-2034 |  |  | Fossil - Oil shale
London Power Networks Plc | 2034-2035 |  |  | Fossil - Other
Murphy Power Distribution Limited | 2035-2036 |  |  | Fossil - Peat
Northern Powergrid | 2036-2037 |  |  | Geothermal
Northern Powergrid (Northeast) Limited | 2037-2038 |  |  | Hydrogen
Northern Powergrid (Yorkshire) Plc | 2038-2039 |  |  | Nuclear
Scottish and Southern Energy | 2039-2040 |  |  | Solar
Scottish Hydro Electric Power Distribution Plc | 2040-2041 |  |  | Stored Energy (all stored energy irrespectve of the original energy source)
ScottishPower Energy Networks | 2041-2042 |  |  | Waste
South Eastern Power Networks Plc | 2042-2043 |  |  | Water (flowing water or head of water)
Southern Electric Power Distribution Plc | 2043-2044 |  |  | Wind
SP Distribution Plc | 2044-2045 |  |  | Other
SP Manweb Plc | 2045-2046 |  |  | Data not available
The Electricity Network Company Limited | 2046-2047
UK Power Distribution Limited | 2047-2048
UK Power Networks | 2048-2049
Utility Assets Limited | 2049-2050
Vattenfall Networks Limited
Western Power Distribution
Western Power Distribution (East Midlands) Plc
Western Power Distribution (South Wales) Plc
Western Power Distribution (South West) Plc
Western Power Distribution (West Midlands) Plc