This Form is to be used in conjunction with PR-NET-OSM-040 Use and Completion of Operational Documents - Operational Safety Manual - Section 5.2

| SAFETY RULES DECLARATION |  |
| --- | --- |
| Location |  |
| Schedule of Apparatus |  |
| Any Exceptions |  |
| Metallic Connections |  |

| (Delete Section 1 or Section 2 below as applicable) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Section 1 - New Plant being Commissioned: I hereby give notice that the apparatus scheduled above has been satisfactorily tested and is now in a condition to become part of the SSEN-D Electrical Network by connection of Metallic Connections listed above and so now comes under the scope of SSEN-D Safety Rules. |  |  |  |  |
| From (time) |  |  |  |  |
| On (date) |  |  |  |  |
| No further work will be done on or near the plant after this time and date without the approval of the SSE Distribution Control Engineer in accordance with the SSEN-D Safety Rules. |  |  |  |  |
| Protection testing on this apparatus is (delete not applicable) |  | complete |  | not complete |
| I have ensured that all staff and contractors have been made aware of this situation. |  |  |  |  |
| Signed Main/Principal Contractor | Time |  | Date |  |
| Signed for SSEN-D | Time |  | Date |  |

| - Section 2 - Plant being Decommissioned: - I hereby give notice that the apparatus scheduled above has been permanently disconnected from the SSE Electrical Network |  |  |
| --- | --- | --- |
| - At (time) |  |  |
| - On (date) |  |  |
| - by removal of the Metallic Connections listed above and no longer comes under the scope of SSEN-D Safety Rules. - Safety Procedures for any further work on the apparatus, including any Low Voltage supplies that remain Live will be the responsibility of the staff or contractors carrying out that work, with the exception of proximity to other live EHV/HV equipment. |  |  |
| - Signed for SSEN-D | - Time | - Date |
| - Signed Main/Principal Contractor | - Time | - Date |